## Test Results
Lead in Water Test Results Summary: |  | Paige Turner High School - Main Building
Notes:
• The lead in water Action Level is 15 parts per billion (ppb).
Any fixture testing at or above the action level of 15 ppb is immediately removed from service and cannot be returned to service until it has been remediated and passed follow-up testing.
• A "ND" or "non-detect" test result indicates the sample measured below the minimum detection limit of 1 ppb.
Legend:
• Test results equal to or greater than the Action Level of 15 ppb are highlighted in red and precede a "High" value in the "Initial Level" or "Final Level" column.
• Test results near the Action Level of 15 ppb (11.99 to 14.99 ppb) are highlighted in yellow and precede a "Med" (Medium) value in the "Initial Level" or "Final Level" column.
Fixture Location Description | Fixture ID # | Initial Test Date | Initial Test Result (ppb) | Initial Level | Final Retest Date | Final Test Result (ppb) | Final Level
Main hall - Drinking Fountain upper | 12340101-001DW | 2022-04-11 | 2.3 | Low
Main hall - Drinking Fountain lower | 12340101-002DW | 2022-04-11 | 2.5 | Low
Main wing - Boys Restroom sink left | 12340101-003BF | 2022-04-11 | ND | Low
Main wing - Boys Restroom sink right | 12340101-004BF | 2022-04-11 | 1.1 | Low
Main wing - Girls Restroom sink left | 12340101-005BF | 2022-04-11 | 4 | Low
Main wing - Girls Restroom sink right | 12340101-006BF | 2022-04-11 | 4.3 | Low
Art room - North sink | 12340101-007CF | 2022-04-11 | 23.6 | High | 2020-05-13 | ND | Low
Art room - South sink | 12340101-008CF | 2022-04-11 | 13.7 | Med | 2022-05-13 | 1.4 | Low