SP00584  (Special Provisions for the 2024 Book) 	(Bidding on or after: 12-01-24

Last updated: 09-03-24)

# SECTION 00584 - ELASTOMERIC CONCRETE NOSING

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00584 of the Standard Specifications modified as follows:

00584.00  Scope - Add the following paragraph to the end of this subsection:

This Work also includes the replacement of existing elastomeric concrete nosing as shown and specified.

00584.90  Payment – Replace the paragraph that begins “Item (a) includes...” with the following paragraph:

Item (a) includes new placement of elastomeric nosing.

Replace the paragraph that begins “Item (b) includes...” with the following paragraph:

Item (b) includes the removal of existing elastomeric nosing, elastomeric concrete nosing replacement installed to a nominal depth of 2 inches, and the repair of existing joint edges and concrete deck surfaces.

Replace the paragraph that begins “Item (c) includes...” with the following paragraph:

Item (c) includes Materials only for concrete nosing replacement or repair depths greater than 2 inches.