SP00560  (Special Provisions for the 2024 Book) 	(Bidding on or after: 08-01-24

Last updated: 04-22-24

This Section requires SP00594

when coating work is required.

This Section requires 02560

when a rotational capacity test is required.)

# SECTION 00560 - STRUCTURAL STEEL BRIDGES

(Follow all instructions and make all edits with “Track Changes” turned on. If there are no instructions [orange text] above a subsection, paragraph, sentence, or bullet, then include it in the project. Delete all orange text before preparing the final document. All other modifications to this Section will require ODOT Technical Resource and State Specifications Engineer approval.)

Comply with Section 00560 of the Standard Specifications modified as follows:

(Use the following subsection .04 for straight single span bridges less than 150 feet )

00560.04  Erection Plan - Replace this subsection, except for the subsection number and title, with the following:

Submit an erection plan with unstamped Working Drawings according to 00150.35 at least 21 Calendar Days before the start of the steel erection Work. Include the proposed erection method and the amount and character of Equipment to be used for review. Do not perform Work until approval has been obtained. This review does not relieve the Contractor of the responsibility for the safety of the method or Equipment, or from carrying out the Work in full according to the Plans and Specifications.

00560.29(d)(2)(c.)  Inspection – Replace Table 00560-3 with the following table:

| Table 00560-3 |  |  |  |
| --- | --- | --- | --- |
| Nut Rotation from Snug-Tight Condition 1,2 |  |  |  |
|  |  | Disposition of Outer Faces of Bolted Parts |  |
| Bolt Length3 (underside of head to end of bolt) | Both faces normal to bolt axis | One face normal to bolt axis and other sloped not more than 1:20 (beveled washer not used) | Both Faces sloped not more than 1:20 from normal to bolt axis (beveled washer not used) |
| Up to and including 4 diameters | 1/3 turn | 1/2 turn | 2/3 turn |
| Over 4 diameters but not exceeding 8 diameters | 1/2 turn | 2/3 turn | 5/6 turn |
| Over 8 diameters but not exceeding 12 diameters | 2/3 turn | 5/6 turn | 1 turn |
| 1 Nut rotation is relative to bolt, regardless of the element (nut or bolt) being turned. For all required nut rotations, the tolerance is plus 60 degrees (1/6 turn) and minus 0 degrees. |  |  |  |
| 2 Applicable only to joints in which all material within the grip is steel. |  |  |  |
| 3 No research has been performed by the Research Council on Structural Connections to establish the turn-of-nut procedure for bolt lengths exceeding 12 diameters. Therefore, the required rotation shall be determined by actual test in a suitable tension measuring device according to 00560.29(d)(2). |  |  |  |

(Use the following subsection .80 to list the estimated quantities of structural steel. Obtain information from the Bridge Designer.)

00560.80  Measurement - Add the following to the end of this subsection:

The estimated quantity of structural steel is:

(Use the appropriate bid item name as the "Steel Type". List each bridge separately.)

Structure	Steel Type	Quantity (Pound)

Bridge No. ______