Stormwater Memorandum

DATE:		MM/DD/2024

TO:		Name

Title

FROM:	Engineer of Record, Title

Agency Name

Phone Number

PROJECT:	K23029 Northwest Oregon 2024-2027 ADA Curb Ramps, Phase 2

SUBJECT:	Stormwater Memorandum

General template notes (delete before turning in final document):

This stormwater memorandum template is only approved for use on ODOT ADA Curb Ramp Program projects.

A draft of this memo is due at the Definitive Design milestone for review by the Agency (see Minimum & Conditional Requirements Checklist). The final memo is due at the Ready for Construction Plans submittal.

Yellow highlight is to be replaced with project specific information.  Italics with turquoise highlights are instructions that are to be deleted prior to turning in final document.  Boilerplate memo language is provided in plain text with no highlighting.

# Introduction

This technical memorandum documents the drainage evaluation and the proposed design for addressing drainage at the curb ramp retrofit locations for the subject Design Package.  Addressing water conveyance and ponding at curb ramps is an ADA requirement per Section 815.4.3 of the ODOT Highway Design Manual. Post-construction stormwater management for water quality (treatment) and flow control is not required for this project.

# Hydrology

The Rational Method is used to calculate the existing peak flow (Q) per drainage area to each inlet or discharge point within the project boundary in Table 2 with the following references:

- ODOT Hydraulics Design Manual Chapter 7, Appendix F for Composite Runoff Coefficient (C), assuming runoff coefficient adjustment factor of 1.0.

- ODOT Hydraulics Design Manual Chapter 7, Appendix A for Rainfall Intensity (I) for the 10-year event, assuming a rainfall intensity duration equal to 5 minutes minimum per drainage area.

Rainfall I-D-R Curve Zone:___ is being utilized for the applicable locations.

If conditions govern the use of other hydrologic methodologies (drainage basin >200 ac), identify appropriate methodology outlined in ODOT Hydraulics Design Manual.

Conditions that warrant the use of drainage facilities that require a design storm different than the 10-year event (i.e. roadway sag conditions) will need to be identified. Relevant I-D-R data can be found in the ODOT Hydraulics Design Manual.

# Existing Drainage

Describe each curb ramp drainage area’s existing conditions in Table 1 based on the visual inspection site visit. Note if there is any evidence of ponding greater than 1 inch depth within the curb ramp boundary:

Date of Visual Inspection Site Visit for Table 1:

Weather Conditions during Site Visit:

Table 1: Description of Existing Drainage

| Curb Ramp ID | Discharge Point (catchment area) | Parallel or Perpendicular Ramp | Drainage feature needs maintenance? (Yes/No) | Inlet or drainage manhole needs to be relocated? (Yes/No/NA) | Curb ramp located in sag (Yes/No) | Evidence of ponding at curb ramp (Yes/No) |
| --- | --- | --- | --- | --- | --- | --- |

Note, multiple curb ramps can share the same discharge point. If any of the drainage areas have a “yes” associated with the existing condition, then the catchment area requires additional analysis. Show the boundaries of curb ramp(s) drainage area in the existing drainage basin maps and show as Attachment A.

The following locations listed in Table 2 require additional drainage analysis based on the visual inspection site visit.

Indicate if alternative permitting conditions exist such as the presence of a FEMA delineated floodway/floodplain or discharge to UIC or other DEQ approved method. Ensure this condition is addressed.

Table 2: Existing Drainage Peak Flow Runoff Calculations

| Catchment Area | Curb Ramp ID(s) | Area (sf) | Area (acres) | C | I (in/hr) | Q (cfs) |
| --- | --- | --- | --- | --- | --- | --- |

# Proposed Drainage Condition

The Design-Builder shall show the extents of improvement, new and replaced impervious area, and provide runoff calculations for the proposed condition for each curb ramp that requires additional drainage analysis. Show extents of new drainage area in the proposed drainage basin maps in Attachment A or utilize an online 3D maps such as GIS that contains the same information in a readable format.

Table 3: Proposed Drainage Peak Flow Runoff Calculations

| Catchment Area | Curb Ramp ID(s) | Area (sf) | Area (acres) | C | I (in/hr) | Q (cfs) |
| --- | --- | --- | --- | --- | --- | --- |

# Drainage Analysis Thresholds

The following design analysis thresholds are considered:

- Catchment area draining to the ramp location produces less than 0.1 cfs (for  Parallel Ramps) or less than 0.3 cfs (for Perpendicular Ramps)

- There is no evidence of ponding at the curb ramp (greater than 1 inch)

- Curb ramp is not located in a sag condition (where water and debris pond at a low point)

- And the total new impervious area within the catchment area is less than 5,000 square feet

If all of the above thresholds are met, then no additional coordination with the Agency is required. The Design Builder shall coordinate with the Agency on alternate ramp design(s) options that meet the above thresholds and other requirements for the project.

# Summary

In summary, the project is proposing to provide drainage mitigation at the following locations:

- Location (street name) corner number, mitigation measure (e.g. add new inlet per ODOT Highway Design Manual);

- Location (street name) corner number; mitigation measure (e.g. add new inlet per ODOT Highway Design Manual);

The final memo should include design data and hydraulic calculations (roadway spread, gutter depth etc) of mitigation measures that meet ODOT Hydraulic Design and Roadway Drainage criteria.

Sincerely,

Engineer of Record,

Title

# Attachments

Provide Attachment A when there is a change to the curb ramp drainage area.

Provide Attachment B if mitigation measures are proposed.

Attachment A	Drainage Exhibit/Map

Attachment B	Proposed Mitigation Measure Analysis

# Attachment A – Drainage Exhibit/Map

# Attachment B – Proposed Mitigation Measure Analysis